## Slide 1
Planning for Success
March 12th, 2025
Central Decatur CSD

## Slide 2
FACILITY PLANNING TEAM
Russ Reiter
K-12 Ambassador
Brian Crawford
Chief Operating Officer
Connor Wohlenhaus
Project Developer

## Slide 3
November 5th, 2024
November 18th, 2024
November 18th, 2024
December 6th, 2024
February 11th, 2025
March 12th, 2025
WHERE WE HAVE BEEN
Initial Kickoff Meeting
Staff & Faculty Survey Sent Out
Initial Site Visit & Data Collection
Follow-Up Site Visit
Draft Report Review
Final Report Delivery & Presentation

## Slide 4
WHERE WE ARE GOING
Prioritization & Planning
  Create budgets for identified improvement/maintenance needs
  Prioritize identified improvements
  Create long term facility maintenance & master plan
When: Spring-Summer 2025

## Slide 5
Understand existing conditions of your facilities
Understand staff survey feedback
Actively engage in conversation
Set trajectory for large and small facility improvements
GOAL FOR TONIGHT: understand & identify facility maintenance priorities for each facility
YOUR ROLE

## Slide 6
Divide facility into three sections based on grades served (elementary, middle school, high school)
Itemize & categorize building “assets” and assign visual grade and age
Weigh asset with rough-order-magnitude replacement cost
Compare asset against expected life (BOMA standard)
ASSESSMENT METHODOLOGY

## Slide 7
ASSESSMENT METHODOLOGY

## Slide 8
Interiors
  Ceiling, Flooring, Casework, Walls, Interior Doors, Furniture, Capital Equipment, etc.
Exteriors
  Roofing, Masonry/Siding, Windows, Doors, Sidewalks, Parking Lots, Playgrounds, etc.
Accessibility
  Americans with Disability Act (ADA) Items
Life Safety
  Fire alarm, Fire suppression, Secure Entry, Emergency Lighting, etc.
Mechanical
  HVAC, Piping, Ductwork, Temperature Controls, etc.
Plumbing
  Plumbing Fixtures, Water Heaters, Piping, etc.
Electrical
  Electrical Distribution, Electrical Switchgear, Lighting, etc.
Technology
  Cabling Systems, Phone System, Video Surveillance, etc.
ASSET CATEGORIES

## Slide 12
FCI Score: 0.19
Aging interior finishes throughout
Several original exterior doors incl. main entry vestibule
Ongoing settling & heaving at south/southeast corner
Several mechanical system components beyond life expectancy: (10) heat pumps, heat exchanger, heat pump loop pumps
JR/SR HIGH OVERVIEW
Notes: Exterior doors (main entry vestibule)
“how do we take care of what we have”

## Slide 13
FCI Score: 0.12
Epoxy flooring & Rolled Carpeting aging
Original playground, wood chips wash away
Heat pumps & ERVs are at the end of their typical life
Fluorescent lighting
NORTH ELEMENTARY OVERVIEW

## Slide 14
FCI Score: 0.24
Some aging interior finishes
South façade brickwork (1982)
Playgrounds
Multiple HVAC systems “fighting” and aging equipment throughout
SOUTH ELEMENTARY OVERVIEW

## Slide 56
91 total respondents
  37 Jr/Sr High Staff
  20 North Elementary
  24 South Elementary
  9 Multi-Site
Four open-ended questions
SURVEY OVERVIEW

## Slide 57
  "Reflect on your specific role within the school district and answer the following:
  What are three specific improvements within your personal classroom or learning space that would contribute to a more effective and enriching educational experience for your students?"
QUESTION #1

## Slide 58
  "Continue to reflect on your specific role within the school district and answer the following:
  What are three specific improvements outside your classroom or learning space that would contribute to a more effective and enriching educational educational experience for your students?"
QUESTION #2

## Slide 59
  "Now, reflect on your district as a whole and answer the following:
  What are some additional ways outside your specific role that the district could enhance and improve the educational, co-curricular, and/or overall student experience?
  Please list at least three specific improvements, and if applicable, share how current facilities may be limiting these aspects."
QUESTION #3

## Slide 60
  "Lastly, reflect on the community within the East Buchanan school district and answer the following:
  What are three specific improvements you think the East Buchanan community (parents, residents, etc.) want to happen at the school?"
QUESTION #4

## Slide 61
SURVEY SUMMARY
Improving restroom spaces was most mentioned at the Jr/Sr High. Additionally, staff noted furniture and casework upgrades and more small group break-out spaces throughout the facility.
North Elementary staff noted the need for furniture upgrades, drafty windows, and harsh fluorescent lighting
South Elementary staff noting improving restroom spaces and HVAC the most. Additional identified improvements consisted of upgrading the playgrounds

## Slide 62
WHERE ARE WE GOING?

## Slide 64
THANK YOU!